Architectural Review Checklist

| Checklist Item | Acceptable | Needs to be Addressed | Not Applicable | Notes |
| --- | --- | --- | --- | --- |
| Architectural Floor Plan | ☐ | ☐ | ☐ |  |
| All levels | ☒ | ☐ | ☐ |  |
| Room dimensions and functions | ☐ | ☒ | ☐ | Not fully dimensioned. |
| Accurate Roof plan | ☒ | ☐ | ☐ |  |
| Grading and drainage coordination | ☒ | ☐ | ☐ |  |
| Building Elevations | ☐ | ☒ | ☐ |  |
| Principal facades with materials | ☒ | ☐ | ☐ | Vinyl lap siding to match existing |
| Detached buildings | ☐ | ☐ | ☒ |  |
| Line of grade | ☒ | ☐ | ☐ |  |
| Basements noted and classified | ☒ | ☐ | ☐ |  |
| Roof height | ☐ | ☒ | ☐ | Does not use City method for AGE. |
| FAR Illustration Plan | ☒ | ☐ | ☐ |  |
| CAD-based takeoff or dimension calculation | ☒ | ☐ | ☐ |  |
| Measured area for each floor plan level | ☒ | ☐ | ☐ |  |
| Boundaries of each measure area | ☒ | ☐ | ☐ |  |
| Assessment/classification of each area | ☒ | ☐ | ☐ |  |
| Color Photos of Adjoining Properties | ☒ | ☐ | ☐ |  |
| Existing and neighboring | ☒ | ☐ | ☐ |  |
| Rear yards | ☒ | ☐ | ☐ |  |
| Aerial Photo Plan | ☐ | ☐ | ☒ |  |
| Buildings and pavement | ☐ | ☐ | ☐ |  |
| Project street | ☐ | ☐ | ☐ |  |
| Composite Street Elevation | ☐ | ☐ | ☒ |  |
| Street Facade | ☐ | ☐ | ☐ |  |
| Photographic montage | ☐ | ☐ | ☐ |  |
| First floor level relation | ☐ | ☐ | ☐ |  |
| Colored Illustration | ☒ | ☐ | ☐ | 3D render, but no color and doesn’t match siding type. |