Arborist Report Review Checklist

| Checklist Item | Acceptable | Needs to be Addressed | Not Applicable | Notes |
| --- | --- | --- | --- | --- |
| Arborist Report | ☐ | ☐ | ☐ |  |
| Firm name | ☒ | ☐ | ☐ |  |
| Site plan geometrics | ☐ | ☒ | ☐ | Show utility connections |
| Existing trees | ☒ | ☐ | ☐ |  |
| Drip line canopies | ☒ | ☐ | ☐ |  |
| Tree protection zones | ☒ | ☐ | ☐ |  |
| Tree report summary | ☒ | ☐ | ☐ |  |
| Aligns with landscape plan | ☐ | ☐ | ☒ |  |