Architectural Review Checklist

| Checklist Item | Acceptable | Needs to be Addressed | Not Applicable | Notes |
| --- | --- | --- | --- | --- |
| Architectural Floor Plan | ☒ | ☐ | ☐ |  |
| All levels | ☒ | ☐ | ☐ |  |
| Room dimensions and functions | ☒ | ☐ | ☐ |  |
| Accurate Roof plan | ☐ | ☒ | ☐ | No roof plan included |
| Grading and drainage coordination | ☐ | ☒ | ☐ | Show downspout locations on arch roof plans; prefer to see them visually represented on the elevations as well. |
| Building Elevations | ☐ | ☒ | ☐ |  |
| Principal facades with materials | ☐ | ☒ | ☐ | Add notes calling out proposed materials. |
| Detached buildings | ☒ | ☐ | ☐ |  |
| Line of grade | ☐ | ☒ | ☐ | Check the grade lines on the elevations to make sure they align with the proposed contours on the civil plan. |
| Basements noted and classified | ☒ | ☐ | ☐ |  |
| Roof height | ☐ | ☒ | ☐ | Note roof height on elevations |
| FAR Illustration Plan | ☒ | ☐ | ☐ |  |
| CAD-based takeoff or dimension calculation | ☒ | ☐ | ☐ |  |
| Measured area for each floor plan level | ☒ | ☐ | ☐ |  |
| Boundaries of each measure area | ☒ | ☐ | ☐ |  |
| Assessment/classification of each area | ☒ | ☐ | ☐ |  |
| Color Photos of Adjoining Properties | ☐ | ☒ | ☐ |  |
| Existing and neighboring | ☒ | ☐ | ☐ |  |
| Rear yards | ☐ | ☐ | ☐ | No rear yard photos. |
| Aerial Photo Plan | ☐ | ☒ | ☐ |  |
| Buildings and pavement | ☐ | ☐ | ☐ |  |
| Project street | ☐ | ☐ | ☐ |  |
| Composite Street Elevation | ☐ | ☒ | ☐ |  |
| Street Facade | ☒ | ☐ | ☐ |  |
| Photographic montage | ☒ | ☐ | ☐ |  |
| First floor level relation | ☐ | ☒ | ☐ |  |
| Colored Illustration | ☒ | ☐ | ☐ |  |